AUTONOMOUS REAGENT-BASED MICROFLUIDIC PH SENSOR PLATFORM

Isabel M. Perez de Vargas Sansalvador1, Cormac D. Fay1, John Cleary1, Adrian Nightingale2, Matthew Mowlem2, and Dermot Diamond1

# 1 Insight: Centre for Data Analytics, National Centre for Sensor Research, Dublin City University, Dublin 9, Ireland

2 NOC: National Oceanography Centre, University of Southampton, Southampton, United Kingdom.

Awareness of the importance of pH monitoring has increased in recent years and a number of application areas have been identified such as marine, natural waters and fish tanks. The challenge is to transform the current monitoring practice into a much more scalable approach

A portable sensor has been developed for in situ measurement of pH in aqueous samples.  The sensor design incorporates microfluidic technology, allowing for the use of low volume of samples and reagents, and an integrated low cost detection system that uses a LED as light source and a photodiode as detector. Different combination of dyes has been studied in order to allow a broader pH detection range, than can be obtained using a single dye. The optimum pH range for this particular dye combination was found to be 4 to 9.

The reagents developed for pH measurement were first tested using bench-top instrumentation and once optimised, the selected formulation was then implemented in the microfluidic system.

The prototype system has been characterised in terms of pH response, linear range, reproducibility and stability. Results obtained using the prototype system are in good agreement with those obtained using glass electrode/pH meter and spectrophotometer based assays.

The reagent is shown to be stable for over 8 months, which is important for long term deployments. A high reproducibility is reported with a global RSD of 1.8% across measurmements of 90 samples. A series of real water samples from different sources were also analysed using this prototype showing its feasibility for real applications.

Keywords: autonomous monitoring, pH sensor, water analysis, microfluidic system

Acknowledgements: The authors gratefully acknowledge financial support from EU FP7 project AQUAWARN (FP7-SME-2013-605937). Dermot Diamond would like to thank financial support of Science Foundation Ireland (SFI) under grant number SFI/12/RC/2289.